Consensus Equipment List

CLCO005D
Consensus Equipment List

CLCO005D

IMPLEMENTATION OF  REGULATORY FRAMEWORK

CISC Co-location Group
TITLE:
Co-location Appropriate Equipment List


______________________________________________________________________________
Source:
John Knight  Stentor






160 Elgin Street, Suite 450



Ottawa, Ontario



Tel: (613) 781-6462; Fax: (613) 781-5218; Email: KnightJE@Stentor.CA

Date:
August 12, 1998, (Original dated February 16, 1998 amended May 20 to reflect consensus reached during April 17 meeting and June 5)

ABSTRACT:
This contribution identifies appropriate Equipment List for Co-location within the Stentor Central Office (CO) as directed by the Commission in Telecom Order CRTC 97-1926.

NOTICE:
This contribution has been prepared by Stentor Resource Inc. to assist the Co-Location Group in its discussion, and is not to be considered a binding proposal on Stentor.  Stentor reserves the right request amendments / modification to the information in the future.

PURPOSE:

The purpose of this contribution is to propose a list of appropriate equipment for Co-location as directed by the Commission in  Telecom Decision CRTC 97-15 and Telecom Order CRTC 97-1926.  The following List is proposed as compliance with those Orders:


1.0 Suitable Equipment for Co-location: 

1.1  Network Access Systems

- Analog Loop Carrier Equipment





- CO loop repeaters (analog and digital)

- Digital Subscriber Line (DSL)

- Asymmetrical Digital Subscriber Line (ADSL) compliant with T1.413, Issue 2

- High Speed Digital Subscriber Line (HDSL) compliant with ITU G.991 proposed

- DLC terminals (in accordance with related CRTC Consensus Report)

- Rate Adaptive Digital Subscriber Line (RADSL) T1.413, Issue 2

- Symmetric Digital Subscriber Line (SDSL) compliant with ITU G.991 proposed

- Pairgain devices (Added Main Line (AML) and Digital Added Main Line (DAML) that meet or exceeds the spectral density requirements of ANSI document T1.413, Issue 2 




1.2 Signal Processing Equipment

- Echo Cancellers

- Protocol and signaling converters

- Signaling receivers 

- Amplifiers (DS0, DS1 and analog)

- Transcoder (2:1 DS1 compression. Not T-coder)

- Compression equipment

1.3  Multiplex / Multiplication Equipment

      - Channel banks


- DS1/DS3 Multiplexer
1.4 Optical Systems 




- Fibre Optics Terminals for linear systems (Sonet / Asynch)

      - Optical Amplifiers  (when not used as an optical repeater)

- Optical Wave Division Muliplexers (WDM) (when not used as an optical      




         repeater)

      - Optical Couplers  (when not used as an optical repeater)

      - Wave Shifters (when not used as an optical repeater)




1.5 Testing Maintenance Equipment

      - Testing Equipment

      - Diagnostic Equipment

      - Protocol testers

      - Signal/pattern generators




1.6 Monitoring and protection equipment

     - Alarm generators

     - Performance monitors




     - Call recorders/analysers




     - Monitoring equipment




     - Modems (used for transmission surveillance only)




1.7 Misc. Equipment




      - Clocking equipment 




      - Racks/cabinets in segregated Type 1 Co-location  




      - Distribution frame




      - Terminal blocks




      - DSX/Fibre panels / meetme bays




      - Cable




      - Ringing generator




      - Cable tray/supports




- Power inverter (- 48 vdc )
Stentor

Page 1
Stentor

Page 2
Stentor

Page 2

