IMPLEMENTATION OF LOCAL COMPETITION

CONSENSUS REPORT

GROUP:
Co-location Group


DATE SUBMITTED: 
October 30, 1998

REPORT #: 

CLRE001

TITLE:
Co-location of DLC terminals
OUTCOME:

CONSENSUS

At the CLG meeting of 17 April 1998, all attending members accepted the following position and agreed that it constitutes a consensus for purposes of co-locating DLC terminals.

Following industry discussions at the Co-location Group meeting of March 27, and April 17, 1998 and consideration of the CRTC staff comments made at that time with regard to traffic concentration, Stentor Resource Centre Inc. ("Stentor") on behalf of BC TEL, Bell Canada, The Island Telephone Company, Maritime Tel & Tel Limited, MTS Communications Inc., The New Brunswick Telephone Company, Limited, NewTel Communications Inc., and TELUS Communication Inc. (collectively, “the Companies”) provided the following position for consideration:

The Companies will accept for co-location the remote terminals of systems defined by the manufacturers of such systems as Integrated Digital Loop Carrier systems (IDLC), given that:

a)  at the time of the application to co-locate such equipment the application is accompanied by an affidavit, signed by an officer of the applicant company, which provides assurances that the co-located equipment will be configured for and used as a transport system only, more specifically, the system will not be configured for dual homing, multi-hosting, intra -IDLC switching, subtending of other remote devices, or stand alone operation; and 
b)  the applicant shall permit technical audits by the ILEC when requested at reasonable intervals or when some doubt exists as to compliance with the terms of the agreement.

This applies to the remote terminals of systems defined by the manufacturers of such systems as Universal Digital Loop Carrier systems (UDLC) and Integrated Digital Loop Carrier systems (IDLC), but specifically excludes the full range of remote terminals of systems referred to by the manufacturers of such systems as “switch remotes” or “switching remotes” e.g. DMS Remote Switching centre (RSC), DMS Remote Line Concentration Module (RLCM), GTD5 Remote Switching Unit (RSU), 5ESS Remote Switching Module (RSM), etc.. 

The Companies' agreement to allow UDLC/IDLC is made without prejudice to their position regarding acceptance of any other type of equipment for inclusion in the industry co-location equipment list.  
10

