IMPLEMENTATION OF LOCAL COMPETITION

CONSENSUS REPORT

GROUP:
Co-location Group


DATE SUBMITTED: 
October 30, 1998

REPORT #: 

CLRE002

TITLE:
Power Sources for Co-locating Companies
OUTCOME:

CONSENSUS

The Co-location Group has reached consensus on the following points regarding power sources for co-locating carriers.

1.
Input to co-located power inverters must be -48 VDC but there are no limitations on the output voltage (July 24/98 Minutes, paragraph 7).

2.
Emergency power, where available, provided to co-locating carriers will be provided from the same generator(s) used by the telephone company (July 24/98 Minutes, paragraph 8).

3.
Power cables are permitted for co-location in “National Co-location Equipment List” document, Release 1.0, August, 1998, section 1.7, “Miscellaneous Equipment” (July 24/98 Minutes, paragraph 10).

4.
The co-locating carrier may be required by the telephone company to install a power filtering or regulating device (July 24/98 Minutes, paragraph 9). 
10

